## Scalars
Maximum capacity of power generation in GT | 5000 | توربین های گازی 500 کیلو واتی تا 300 مگاواتی داریم
Maximum capacity of power generation in Wind turbines | 100 | توربین های بادی 100 کیاو واتی تا 8 مگا واتی داریم
Maximum capacity of power generation in PVs | 50 | پنل های خورشیدی 1 کیلو واتی تا به بالا رو داریم
Maximum capacity of heating generation in Boiler | 2560
Maximum capacity of absorption chillers | 600
Maximum capacity of electrical chillers | 1000
efficiency of transformers | 0.97
electrical efficiency of gas turbines | 0.35
thermal efficiency of gas turbines | 0.3
thermal efficiency of gas boilers | 0.93
Heat exchanger efficiency | 0.9 | assumption
efficiency of solar panels ( invertors efficiency ) | 0.98 | invertor
elec demand - price elasticity | 0.8
Note on B1: bildiran: https://www.epa.gov/sites/default/files/2015-07/documents/catalog_of_chp_technologies_section_3._technology_characterization_-_combustion_turbines.pdf
Note on B2: bildiran: https://www.renewablesfirst.co.uk/windpower/windpower-learning-centre/much-power-generate-wind-turbine/
Note on B3: bildiran: https://www.yesenergysolutions.co.uk/advice/how-much-energy-solar-panels-produce-home#:~:text=The%20maximum%20amount%20of%20electricity,1%20kW%20and%204%20kW.
Note on B4: bildiran: https://www.google.com/search?q=maximum+capacity+of+heating+energy+generatiion+in+Boiler&sxsrf=ALiCzsYU1D4I0ybrV9dxoCd-l-5XzqPHdA%3A1659284010272&ei=KqrmYqyBEK3_7_UPlpKMkAY&ved=0ahUKEwisvo3QwqP5AhWt_7sIHRYJA2IQ4dUDCA4&uact=5&oq=maximum+capacity+of+heating+energy+generatiion+in+Boiler&gs_lcp=Cgdnd3Mtd2l6EAMyBwghEKABEAoyBwghEKABEAoyBwghEKABEAo6BAgjECc6CAgAEJECEIsDOgUIABCABDoFCC4QgAQ6CAguEIAEENQCOgUIABCRAjoECC4QQzoHCC4Q1AIQQzoECAAQQzoLCC4QgAQQxwEQ0QM6CAgAEIAEEMkDOgoIABCABBCHAhAUOgYIABAeEBY6CAgAEB4QDxAWOgUIABCGAzoFCCEQoAE6CAghEB4QFhAdOgoIIRAeEA8QFhAdOgQIIRAVOgUIABDLAToICC4Q1AIQkQI6BwgjELACECc6BgghEAoQFUoECEEYAEoECEYYAFAAWKCVAWDFlgFoFXABeAGAAbgCiAHxb5IBCTAuNTYuMTkuMZgBAKABAbgBAsABAQ&sclient=gws-wiz
Note on B5: bildiran: https://www.energy.gov/sites/prod/files/2017/06/f35/CHP-Absorption%20Chiller-compliant.pdf
Note on B6: bildiran: https://www.google.com/search?q=maximum+capacity+of+electrical+chillers+in+kW&sxsrf=ALiCzsYhpzCEDlA37yM0bbPJlw-Iyt0pGw%3A1659284209840&ei=8armYq3jMtqE9u8PrN2S0AI&ved=0ahUKEwjtn6Kvw6P5AhVagv0HHayuBCoQ4dUDCA4&uact=5&oq=maximum+capacity+of+electrical+chillers+in+kW&gs_lcp=Cgdnd3Mtd2l6EAM6BwgAEEcQsANKBAhBGABKBAhGGABQ-gZYrBZg6xloAnABeACAAcUBiAHpDpIBBDAuMTGYAQCgAQHIAQjAAQE&sclient=gws-wiz
Note on B7: bildiran: https://vietnamtransformer.com/our-news/efficiency-of-transformer#:~:text=In%20general%2C%20the%20efficiency%20of,errors%20of%201%20%E2%80%93%202%25.
Note on B8: bildiran: https://www.energy.gov/fecm/how-gas-turbine-power-plants-work#:~:text=A%20simple%20cycle%20gas%20turbine,of%2060%20percent%20or%20more.
Note on B9: bildiran: https://en.wikipedia.org/wiki/Gas_turbine#:~:text=When%20the%20gas%20turbine%20is,integrated%20into%20portable%20container%20configurations.
Note on B10: bildiran: https://www.energy.gov.au/sites/default/files/hvac-factsheet-boiler-efficiency.pdf
Note on B12: bildiran: https://palmetto.com/learning-center/blog/solar-inverter-guide-types-benefits-cost-how-solar-inverters-work
Note on B13: bildiran: https://ier.ut.ac.ir/article_72994_7c9d2901dc0ff4a6b74e7bf02702a8a6.pdf

## Parameters
Electrical chillers efficiency | 0.9 | assumption | elec demand | 1 | 1000 | heating demand | 1 | 500 | cooling demand | 1 | 200 | Electricity buy price from grid | 1 | 0.005 | Electricity sell price to grid | 1 | 0.0045 | new price | 1 | 0.006 | gas buy price | 1 | 0.0084
Absorption chillers | 0.9 | assumption |  | 2 | 760 |  | 2 | 550 |  | 2 | 200 |  | 2 | 0.0051 |  | 2 | 0.00459 |  | 2 | 0.00612 |  | 2 | 0.0084
battery charge efficiency | 0.9 |  |  | 3 | 900 |  | 3 | 600 |  | 3 | 300 |  | 3 | 0.0051 |  | 3 | 0.00459 |  | 3 | 0.00612 |  | 3 | 0.0084
battery discharge efficiency | 0.95 |  |  | 4 | 850 |  | 4 | 650 |  | 4 | 450 |  | 4 | 0.0051 |  | 4 | 0.00459 |  | 4 | 0.00612 |  | 4 | 0.0084
HES charge efficiency | 0.9 |  |  | 5 | 900 |  | 5 | 650 |  | 5 | 450 |  | 5 | 0.0053 |  | 5 | 0.00477 |  | 5 | 0.00636 |  | 5 | 0.0084
HES discharge efficiency | 0.95 |  |  | 6 | 1000 |  | 6 | 700 |  | 6 | 450 |  | 6 | 0.0053 |  | 6 | 0.00477 |  | 6 | 0.00636 |  | 6 | 0.0084
CES charge efficiency | 0.9 |  |  | 7 | 1100 |  | 7 | 750 |  | 7 | 450 |  | 7 | 0.0053 |  | 7 | 0.00477 |  | 7 | 0.00636 |  | 7 | 0.0084
CES discharge efficiency | 0.95 |  |  | 8 | 1200 |  | 8 | 750 |  | 8 | 450 |  | 8 | 0.0053 |  | 8 | 0.00477 |  | 8 | 0.00636 |  | 8 | 0.0089
maximum capacity of battery storage |  |  |  | 9 | 1250 |  | 9 | 800 |  | 9 | 450 |  | 9 | 0.0059 |  | 9 | 0.00531 |  | 9 | 0.00708 |  | 9 | 0.0089
maximum capacity of HES storage |  |  |  | 10 | 1300 |  | 10 | 850 |  | 10 | 500 |  | 10 | 0.0059 |  | 10 | 0.00531 |  | 10 | 0.00708 |  | 10 | 0.0089
maximum capacity of CES storage |  |  |  | 11 | 1400 |  | 11 | 850 |  | 11 | 450 |  | 11 | 0.0059 |  | 11 | 0.00531 |  | 11 | 0.00708 |  | 11 | 0.0089
maximum charge rate of battery |  |  |  | 12 | 1500 |  | 12 | 900 |  | 12 | 450 |  | 12 | 0.0059 |  | 12 | 0.00531 |  | 12 | 0.00708 |  | 12 | 0.0089
maximum charge rate of HES |  |  |  | 13 | 1600 |  | 13 | 1000 |  | 13 | 450 |  | 13 | 0.0054 |  | 13 | 0.00486 |  | 13 | 0.00648 |  | 13 | 0.0089
maximum charge rate of CES |  |  |  | 14 | 1700 |  | 14 | 1100 |  | 14 | 500 |  | 14 | 0.0054 |  | 14 | 0.00486 |  | 14 | 0.00648 |  | 14 | 0.0094
max discharge rate of battery |  |  |  | 15 | 1800 |  | 15 | 1200 |  | 15 | 1000 |  | 15 | 0.0054 |  | 15 | 0.00486 |  | 15 | 0.00648 |  | 15 | 0.0094
max discharge rate of HES |  |  |  | 16 | 1900 |  | 16 | 1000 |  | 16 | 800 |  | 16 | 0.0054 |  | 16 | 0.00486 |  | 16 | 0.00648 |  | 16 | 0.0094
maximum discharge rate of CES |  |  |  | 17 | 2000 |  | 17 | 900 |  | 17 | 600 |  | 17 | 0.0065 |  | 17 | 0.00585 |  | 17 | 0.0078 |  | 17 | 0.0094
|  |  |  | 18 | 2100 |  | 18 | 850 |  | 18 | 400 |  | 18 | 0.0065 |  | 18 | 0.00585 |  | 18 | 0.0078 |  | 18 | 0.0094
|  |  |  | 19 | 2000 |  | 19 | 850 |  | 19 | 400 |  | 19 | 0.0065 |  | 19 | 0.00585 |  | 19 | 0.0078 |  | 19 | 0.0094
|  |  |  | 20 | 1900 |  | 20 | 1000 |  | 20 | 300 |  | 20 | 0.0065 |  | 20 | 0.00585 |  | 20 | 0.0078 |  | 20 | 0.009
|  |  |  | 21 | 1800 |  | 21 | 1200 |  | 21 | 200 |  | 21 | 0.0065 |  | 21 | 0.00585 |  | 21 | 0.0078 |  | 21 | 0.009
|  |  |  | 22 | 2000 |  | 22 | 1200 |  | 22 | 100 |  | 22 | 0.0065 |  | 22 | 0.00585 |  | 22 | 0.0078 |  | 22 | 0.009
|  |  |  | 23 | 1900 |  | 23 | 1000 |  | 23 | 50 |  | 23 | 0.0061 |  | 23 | 0.00549 |  | 23 | 0.00732 |  | 23 | 0.009
|  |  |  | 24 | 1800 |  | 24 | 800 |  | 24 | 50 |  | 24 | 0.0058 |  | 24 | 0.00522 |  | 24 | 0.00696 |  | 24 | 0.009
Note on R1: bildiran: https://www.researchgate.net/publication/324595234_Towards_Efficient_Energy_Management_and_Power_Trading_in_a_Residential_Area_via_Integrating_a_Grid-Connected_Microgrid/figures?lo=1
Note on V1: bildiran: https://www.researchgate.net/publication/324595234_Towards_Efficient_Energy_Management_and_Power_Trading_in_a_Residential_Area_via_Integrating_a_Grid-Connected_Microgrid/figures?lo=1
Note on Z1: bildiran: https://www.researchgate.net/publication/324595234_Towards_Efficient_Energy_Management_and_Power_Trading_in_a_Residential_Area_via_Integrating_a_Grid-Connected_Microgrid/figures?lo=1
Note on AD1: bildiran: https://www.researchgate.net/publication/324595234_Towards_Efficient_Energy_Management_and_Power_Trading_in_a_Residential_Area_via_Integrating_a_Grid-Connected_Microgrid/figures?lo=1
Note on B3: bildiran: https://www.fluxpower.com/blog/top-5-factors-that-affect-industrial-battery-efficiency#:~:text=These%20are%20the%20most%20efficient,acid%20drops%20below%2050%25%20efficiency.
Note on B4: bildiran: https://www.sciencedirect.com/topics/engineering/ah-efficiency
Note on B5: bildiran: https://www.fluxpower.com/blog/top-5-factors-that-affect-industrial-battery-efficiency#:~:text=These%20are%20the%20most%20efficient,acid%20drops%20below%2050%25%20efficiency.
Note on B6: bildiran: https://www.sciencedirect.com/topics/engineering/ah-efficiency
Note on B7: bildiran: https://www.fluxpower.com/blog/top-5-factors-that-affect-industrial-battery-efficiency#:~:text=These%20are%20the%20most%20efficient,acid%20drops%20below%2050%25%20efficiency.
Note on B8: bildiran: https://www.sciencedirect.com/topics/engineering/ah-efficiency